## Sheet1
2020 CDBG
WATER PROJECT TECHNICAL SCORE
Project Name: | [5 empty] | Total Score | 0
Applicant Name:
E-mail: |  |  |  | Phone:
Engineer Name:
E-mail: |  |  |  | Phone:
[5 empty] | Possible points | Actual Points
Correct application format |  |  |  |  | 1
1. Project Description:
2. Project Location:
3. Preliminary Project Discussion:
4. Detailed project cost:
5. Project Schedule:
6. Measurement
|  |  | NRW and Validity score entered |  | 1
|  |  | Track water loss monthly |  | 1
7. Mapping
|  |  | PDF of map |  | 1
|  |  | Map up to date |  | 1
|  |  | Master meters calibrated 1X/yr |  | 1
|  |  | Method to isolate flow |  | 1
8. Planning/Repair
|  |  | Systemized method- leaks and repairs |  | 1
|  |  | Install/ use meters |  | 1
|  |  | Software |  | 1
9. Problem being addressed
Source Capacity
Average Daily Demand/Existing Source Capacity
|  |  | 90% or greater |  | 90
|  |  | at 80 to 89% |  | 75
|  |  | at 70 to 79% |  | 60
|  |  | at 60 to 69% |  | 45
|  |  | at 50 to 59% |  | 30
|  |  | less than 50% |  | 0
Treatment Plant Capacity
Exist. Average Daily Loading/Exist. Hydraulic Capacity
|  |  | 90% or greater |  | 90
|  |  | at 80 to 89% |  | 75
|  |  | at 70 to 79% |  | 60
|  |  | at 60 to 69% |  | 45
|  |  | at 50 to 59% |  | 30
|  |  | less than 50% |  | 0
Storage Capacity
Available Total Storage/Daily Demand
|  |  | 0 to 59% of daily demand |  | 90
|  |  | 60 to 79% of daily demand |  | 75
|  |  | 80 to 99% of daily demand |  | 60
|  |  | 100 to 129% of daily demand |  | 45
|  |  | 130 to 149% of daily demand |  | 30
|  |  | at or over 150% of daily demand |  | 0
Pressure
No. of customers below 20 psi/No. of customers
|  |  | 50% or more customers below 20 psi |  | 90
|  |  | 40-49% of customers below 20 psi |  | 75
|  |  | 30-39% of customers below 20 psi |  | 60
|  |  | 20-29% of customers below 20 psi |  | 45
|  |  | Marginal pressure |  | 30
|  |  | No pressure problem documented |  | 0
Water Loss
Water loss/ Water pumped
Water loss in DMA
|  |  | 60% or greater water loss Water loss in DMA ___________% |  | 90
|  |  | 50 to 59% water loss |  | 75
|  |  | 40 to 49% water loss |  | 60
|  |  | 20 to 29% water loss |  | 45
|  |  | less than 20% water loss |  | 30
0
Quality and Operations
|  |  | urgent priority |  | 71-90
|  |  | high priority |  | 51-70
|  |  | medium priority |  | 31-50
|  |  | low priority |  | 0-30