## Slide 1: Underground Storage Tank Enforcement Update
Underground Storage Tanks and
Solid Waste Disposal Control Board
December 4, 2019
Kate Harper, Environmental Consultant
Notes: Tonya

## Slide 2: ENFORCEMENT OVERVIEW
The UST Division issued 9 orders between September 17, 2019 and November 21, 2019.
Of the Orders that have gone Final:
  2 are in Final Status
  2 are in Final – Probation Status
Notes: Mark

## Slide 3: Final Order
Summary of UST19-0055
Fac. ID No. 2-471240 / Ian’s Market No. 36
  Director’s Order signed September 17, 2019
  Final on November 16, 2019
  Violations Addressed on Director’s Order
    Failure to provide a release detection method capable of detecting a release
    Failure to install piping in accordance with manufacturer’s instructions
    Failure to report a change of status for a UST
    Failure to remove liquid from a dispenser sump
    Failure to cooperate with the Division
  Civil Penalty – $7,080.00
  The case is currently in the Office of General Counsel.

## Slide 4: Final Order
Summary of UST19-0084
Fac. ID No. 8-570470 / 795 Airways
  Director’s Order signed September 17, 2019
  Final on November 9, 2019
  Violations Addressed on Director’s Order
    Failure to tightness test a UST system after 3 months but no later than 6 months after installation of anodes
    Failure to cooperate
  Civil Penalty – $4,320.00
  The case is currently in the Office of General Counsel.

## Slide 5: Final-Probation Order
Summary of UST19-0091
Fac. ID No. 2-780234 / Wears Country Market and Grill
  Expedited Director’s Order signed September 17, 2019
  Final on October 20, 2019
  Violations Addressed on Director’s Order
    Failure to provide release detection method capable of detecting a release from tank that routinely contains petroleum
  Penalty:
    Upfront – Tank School
    Contingent – $9,600.00
  The request to attend tank school was received October 3, 2019.

## Slide 6: Final-Probation Order
Summary of UST19-0107
Fac. ID No. 9-791972 / Piranha
  Expedited Director’s Order signed October 8, 2019
  Final on November 15, 2019
  Violations Addressed on Director’s Order
    Failure to conduct a line tightness test annually
  Penalty:
    Upfront – Tank School
    Contingent – $6,000.00
  The request to attend tank school was received November 7, 2019.

## Slide 7: Questions?