## Slide 1: Underground Storage Tank Enforcement Update
Underground Storage Tanks and
Solid Waste Disposal Control Board
August 5, 2020
Rhonda Key, Environmental Manager
Notes: Tonya

## Slide 2: ENFORCEMENT OVERVIEW
The Division issued
64 orders between
January 16, 2020
and
July 20, 2020.
Notes: Mark

## Slide 3: Orders Resolved
The Division had eight orders resolved between January 16, 2020 and July 20, 2020.
Two Director’s Order that had gone final.
One Expedited Director’s Order that had gone final.
Five Director’s Orders that had been appealed.

## Slide 4: Final Orders
Of the 64 orders signed between January 16, 2020 and July 20, 2020, there are 4 in Final status.

## Slide 5: Final-Probation Orders
Of the 64 orders signed between January 16, 2020 and July 20, 2020, there are 18 in Final-Probation status.

## Slide 6
Resolved
Orders

## Slide 7: Final Order – Resolved
Summary of UST19-0152
Fac. ID No. 2-530122 / 72 Market
  Director's Order signed January 21, 2020
  Order went final on March 3, 2020
  Order for:
    Failure to have gauging equipment capable of tanking measurements to the nearest 1/8th inch
    Failing to ensure that the cathodic protection system is tested within six months of installation and every three years thereafter
    Failing to install other system parts in accordance with manufacturer’s installation instructions
    Failure to cooperate
  Civil Penalty – $6,000.00
  Resolution: Upfront penalty of $6,000 in six monthly installments. Facility has returned to compliance.

## Slide 8: Final Order – Resolved
Summary of UST19-0116
Fac. ID No. 3-330251 / Kanku’s Express No. 4
  Director's Order signed December 20, 2019
  Order went final on February 6, 2020
  Order for:
    Failure to operate and maintain corrosion protection
    Failure to cooperate
  Civil Penalty – $2,400.00
  Resolution: Upfront penalty of $1,900.00 in four monthly installments and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 9: Final Order – Resolved
Summary of UST19-0129
Fac. ID No. 3-330517 / Kanku’s Express No. 3
  Expedited Director's Order signed December 20, 2019
  Order went final on January 26, 2020
  Order for:
    Failure to conduct annual line tightness test
  Civil Penalty – $8,000.00
  Resolution: Upfront penalty of $1,600.00 in four monthly installments and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 10: Appealed Order – Resolved
Summary of UST18-0079
Fac. ID No. 2-130052 Lee’s Food Mart #2
  Director's Order signed September 18, 2018
  Appealed on December 2, 2019
  Order for:
    Failure to monitor tanks at least monthly for releases
    Failure to have overfill
    Failure to cooperate
  Civil Penalty – $15,360.00
  Resolution: Upfront penalty of $1,280.00 and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 11: Appealed Order – Resolved
Summary of UST18-0145
Fac. ID No. 9-793627 / Nakhelh’s Express
  Director's Order signed April 8, 2019
  Appealed on December 12, 2019
  Order for:
    Failure to monitor piping installed after July 25, 2007 every 30 days
    Failure to monitor tanks installed after July 25, 2007 every 30 days
    Failure to inspect spill buckets monthly & maintain a log of last 12 months
    Failure to inspect dispensers quarterly & maintain a log of last 12 months
    Failure to test line leak detectors annually
    Failure to cooperate
  Civil Penalty – $33,120.00
  Resolution: Upfront penalty of $9,360.00 in 14 monthly installments and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 12: Appealed Order – Resolved
Summary of UST18-0142
Fac. ID No. 8-570307 / Tennessee Oil #1
  Director's Order signed June 14, 2019
  Appealed on July 11, 2019
  Order for:
    Failure to conduct annual line tightness test or have monthly monitoring on piping
    Failure to install, calibrate, operate or maintain RD on tanks
    Failure to operate and maintain corrosion protection
    Failure to have release detection on tanks
    Failure to cooperate
  Civil Penalty – $22,080.00
  Resolution: Upfront penalty of $3,840.00 and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 13: Appealed Order – Resolved
Summary of UST17-0157
Fac. ID No. 9792715 / Lee’s Grocery and Deli
  Director's Order signed January 26, 2018
  Appealed on April 16, 2018
  Order for:
    Failure to conduct annual line tightness test or have monthly monitoring on piping
    Failure to inspect spill catchment basins monthly & maintain a log of last 12 months
    Failure to inspect dispensers quarterly & maintain a log of last 12 months
    Failure to keep spill catchment basins free of water, dirt, debris
    Failure to test line leak detectors annually
    Failure to train Class C operators
    Failure to cooperate
  Civil Penalty – $19,800.00
  Resolution: Upfront penalty of $2,400.00 in 12 monthly installments and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance and no automatic enforcement referrals for 12 months.
Notes: Mark

## Slide 14: Appealed Order – Resolved
Summary of UST16-0263
Fac. ID No. 3-330905 / John’s Food Mart
  Director's Order signed May 10, 2017
  Appealed on June 12, 2017
  Order for:
    Failure to have a Class A and B Certified Operator
    Failure to cooperate
  Civil Penalty – $4,560.00
  Resolution: Penalty of $3,500.00.
Notes: Mark

## Slide 15
Final
Orders

## Slide 16: Final Order – In OGC
Summary of UST19-0141
Fac. ID No. 8-390092 / Wildersville Citgo
  Director's Order signed January 21, 2020
  Order went final on March 18, 2020
  Order for:
    Failing to have corrosion protection on steel piping, including flex connectors
    Failing to install, calibrate, operate or maintain release detection method for piping in accordance with manufacturer’s instructions
    Failing to maintain any spill prevention system
    Failure to cooperate
  Civil Penalty – $22,560.00
  The case is in OGC for non-compliance.

## Slide 17: Final Order – In OGC
Summary of UST19-0119
Fac. ID No. 5-191004 / Thompson Lane Market
  Director's Order signed January 21, 2020
  Order went final on February 29, 2020
  Order for:
    Failing to monitor tanks monthly
    Failing to install, calibrate, operate or maintain release detection method for tank systems
    Failing to have Class A and Class B Operators designated and trained
    Failure to cooperate
  Civil Penalty – $16, 080.00
  The case is in OGC for non-compliance.

## Slide 18: Final Order – In OGC
Summary of UST19-0112
Fac. ID No. 8-390118 / Bull Market D #10
  Director's Order signed February 18, 2020
  Order went final on March 26, 2020
  Order for:
    Failing to pay fees, penalties and interest on a tank
    Failing to report a change of status for a UST system within 30 days
    Failing to have one or more persons designated as a Class A, Class B or Class C Operator
    Failing to ensure the cathodic protection system is tested within six months of installation and every 3 years thereafter
    Failing to permanently close a substandard UST system
  Civil Penalty – $19,600.00
  The case is in OGC for non-compliance.

## Slide 19: Final Order – In OGC
Summary of UST19-0111
Fac. ID No. 7-230085 / Jr. Mart
  Director's Order signed February 18, 2020
  Order went final on June 5, 2020
  Order for:
    Failing to permanently close a substandard UST system
    Failing to provide a release detection method capable of detecting a release from a tank that routinely contains product
    Failing to maintain a log of at least the last 12 months of visual inspections for seeps and drips after removing the dispenser cover
    Failing to ensure that the cathodic protection system is tested within 6 months of installation and every 3 years thereafter
    Failing to have one or more persons designated as Class A, Class B and Class C operators at a facility that has one or more petroleum UST systems
    Failure to cooperate
  Civil Penalty – $30,480.00
  The case is in OGC for non-compliance.

## Slide 20
Final-Probation
Orders

## Slide 21: Final-Probation Order
Summary of UST20-0061
Fac. ID No. 2-050104 / Neighborhood Market
  Expedited Director’s Order signed June 11, 2020
  Final on July 18, 2020
  Violations Addressed on Director’s Order
    Failing to provide release detection on tanks
    Failing to conduct line tightness test annually
  Penalty:
    Upfront – Tank School
    Contingent – $16,640.00
  The request to attend tank school was received July 6, 2020

## Slide 22: Final-Probation Order
Summary of UST20-0057
Fac. ID No. 0-792744 / Univ. of TN Health Science Center
  Expedited Director’s Order signed June 11, 2020
  Final on July 19, 2020
  Violations Addressed on Director’s Order
    Failing to test IM sensors for proper function annually
    Failing to monitor the tank monthly
  Penalty:
    Upfront – Tank School
    Contingent – $5,120.00
  The Respondent has already attended tank school.

## Slide 23: Final-Probation Order
Summary of UST20-0054
Fac. ID No. 8-570117 / SSA Food and Fuel, LLC
  Expedited Director’s Order signed June 11, 2020
  Final on July 20, 2020
  Violations Addressed on Director’s Order
    Failing to monitor tanks at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $2,560.00
  The request to attend tank school was received July 6, 2020

## Slide 24: Final-Probation Order
Summary of UST20-0038
Fac. ID No. 2-620064 / Fuel Stop
  Expedited Director’s Order signed June 11, 2020
  USPS has not provided delivery info so date order goes final is unknown.
  Violations Addressed on Director’s Order
    Monitor piping installed after July 25, 2007 for a release every thirty days
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized underground piping
  Penalty:
    Upfront – Tank School
    Contingent – $6,400.00
  The respondent has already attended tank school.

## Slide 25: Final-Probation Order
Summary of UST20-0032
Fac. ID No. 7-230045 / Dyer County Highway Department
  Expedited Director’s Order signed June 11, 2020
  Final on July 8, 2020
  Violations Addressed on Director’s Order
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized piping
  Penalty:
    Upfront – Tank School
    Contingent – $3,200.00
  The request to attend tank school was received July 15, 2020

## Slide 26: Final-Probation Order
Summary of UST20-0028
Fac. ID No. 9-791583 / Singh Express
  Expedited Director’s Order signed June 11, 2020
  Final on July 16, 2020
  Violations Addressed on Director’s Order
    Failing to conduct monitoring for releases at least monthly
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized underground piping
  Penalty:
    Upfront – Tank School
    Contingent – $12,480.00
  The request to attend tank school was received June 22, 2020

## Slide 27: Final-Probation Order
Summary of UST20-0026
Fac. ID No. 9-790317 / Exxon Gas
  Expedited Director’s Order signed June 11, 2020
  Final on July 19, 2020
  Violations Addressed on Director’s Order
    Failing to correctly calibrate the ATG console
    Failing to monitor tanks at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $10,240.00
  The request to attend tank school was received June 19, 2020

## Slide 28: Final-Probation Order
Summary of UST20-0025
Fac. ID No. 3-3310093 / Ricky and Irina’s Market
  Expedited Director’s Order signed June 11, 2020
  Final on July 19, 2020
  Violations Addressed on Director’s Order
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized underground piping
  Penalty:
    Upfront – Tank School
    Contingent – $3,200.00
  The request to attend tank school was received June 25, 2020

## Slide 29: Final-Probation Order
Summary of UST20-0021
Fac. ID No. 8-570355 / Ash’s BP
  Expedited Director’s Order signed June 16, 2020
  Final on July 25, 2020
  Violations Addressed on Director’s Order
    Failing to comply with requirements concerning design, construction, utilization, and or upgrade of corrosion protection for piping
  Penalty:
    Upfront – Tank School
    Contingent – $2,5600.00
  The request to attend tank school has not yet been received.

## Slide 30: Final-Probation Order
Summary of UST20-0009
Fac. ID No. 1-820277 / Godsey Land and Development, LLC
  Expedited Director’s Order signed June 11, 2020
  Final on July 25, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized piping
    Failing to provide a release detection method capable of detecting a release from tank that routinely contains product
  Penalty:
    Upfront – Tank School
    Contingent – $11,520.00
  The request to attend tank school was received June 20, 2020

## Slide 31: Final-Probation Order
Summary of UST20-0006
Fac. ID No. 1-860072 / Unicoi County Highway Department
  Expedited Director’s Order signed June 11, 2020
  Final on July 29, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $5,120.00
  The request to attend tank school was received July 13, 2020

## Slide 32: Final-Probation Order
Summary of UST20-0004
Fac. ID No. 4-890154 / Hina Food Mart
  Expedited Director’s Order signed June 11, 2020
  Final on July 18, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $2,560.00
  The request to attend tank school was received July 23, 2020

## Slide 33: Final-Probation Order
Summary of UST19-0156
Fac. ID No. 4-690008 / RAJ Market
  Expedited Director’s Order signed February 28, 2020
  Final on March 22, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $6,400.00
  The request to attend tank school was received March 23, 2020

## Slide 34: Final-Probation Order
Summary of UST19-0153
Fac. ID No. 1-820038 / Boone Market
  Expedited Director’s Order signed January 21, 2020
  Final on March 27, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
    Failing to conduct annual line tightness test or do monthly monitoring on pressurized underground piping
  Penalty:
    Upfront – Tank School
    Contingent – $9,280.00
  The request to attend tank school was received February 18, 2020

## Slide 35: Final-Probation Order
Summary of UST19-0145
Fac. ID No. 4-710034 / Lead Lap 2
  Expedited Director’s Order signed February 18, 2020
  Final on April 6, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $10,240.00
  The request to attend tank school was received March 11, 2020

## Slide 36: Final-Probation Order
Summary of UST19-0139
Fac. ID No. 4-670105 / Rickman Marathon
  Expedited Director’s Order signed December 20, 2019
  Final on January 26, 2020
  Violations Addressed on Director’s Order
    Failure to conduct annual line tightness test or monitor piping monthly
  Penalty:
    Upfront – Tank School
    Contingent – $8,000.00
  The request to attend tank school was received January 8, 2020.

## Slide 37: Final-Probation Order
Summary of UST19-0138
Fac. ID No. 3-0660250 / Orbit Express
  Expedited Director’s Order signed January 21, 2020
  Final on March 15, 2020
  Violations Addressed on Director’s Order
    Failing to monitor tanks at least monthly
  Penalty:
    Upfront – Tank School
    Contingent – $12,800.00
  The request to attend tank school was received January 29, 2020

## Slide 38: Final-Probation Order
Summary of UST19-0130
Fac. ID No. 3-060110 / Midnite Oil
  Expedited Director’s Order signed January 21, 2020
  Final on April 2, 2020
  Violations Addressed on Director’s Order
    Failing to conduct release detection monitoring at least monthly
    Failure to comply with the requirements concerning design, construction, utilization, and or upgrade of corrosion protection for piping
  Penalty:
    Upfront – Tank School
    Contingent – $2,880.00
  The request to attend tank school was received January 30, 2020

## Slide 39: Questions?