## Slide 1: Underground Storage Tank Enforcement Update
Underground Storage Tanks and
Solid Waste Disposal Control Board
February 5, 2020
Kate Harper, Environmental Consultant
Notes: Tonya

## Slide 2: ENFORCEMENT OVERVIEW
The Division issued 21 orders between November 22, 2019 and January 15, 2020.
Of the orders that have gone final:
  2 are in Final Status
  3 are in Final – Probation Status
The Division had 1 order resolved since the previous board meeting.
Notes: Mark

## Slide 3: Appealed Order – Resolved
Summary of UST19-0103
Fac. ID No. 9-790812 / Hajjeh Express Center
  Director's Order signed October 8, 2019
  Appealed on December 2, 2019
  Order for:
    Failure to monitor tanks at least monthly for releases
    Failure to cooperate
  Civil Penalty – $15,360.00
  Resolution: Upfront penalty of $1,280.00 and must attend tank school within 12 months of effective date of settlement agreement. Remainder of penalty is contingent on tank school attendance.
Notes: Mark

## Slide 4: Final Order
Summary of UST16-0056
Fac. ID No. 8-380038 / Ko-Ko Market
  Director’s Order signed July 8, 2019
  Final on December 23, 2019
  Violations Addressed on Director’s Order
    Failure to have a field-installed cathodic protection system designed by a corrosion expert
    Failure to tightness test the UST system no later than 6 months, but no sooner than 3 months, following the addition of anodes
    Failure to cooperate
  Civil Penalty – $5,280.00
  The case is currently in the Office of General Counsel.
Notes: Mark

## Slide 5: Final Order
Summary of UST19-0090
Fac. ID No. 2-730038 / Lehigh Gas Wholesale Services, Inc.
  Expedited Director’s Order signed November 26, 2019
  Final on January 13, 2020
  Violations Addressed on Director’s Order
    Failure of tanks installed on or after July 24, 2007 to meet interstitial monitoring requirements
    Failure of piping installed on or after July 24, 2007 to meet interstitial monitoring requirements
  Civil Penalty – $12,400.00
  The case is currently in the Office of General Counsel.
Notes: Mark

## Slide 6: Final-Probation Order
Summary of UST19-0128
Fac. ID No. 3-540078 / Marathon Mart
  Expedited Director’s Order signed December 20, 2019
  Final on January 26, 2020
  Violations Addressed on Director’s Order
    Failure to monitor tanks at least monthly for releases
  Penalty:
    Upfront – Tank School
    Contingent – $6,400.00
  The Respondent has already attended tank school.

## Slide 7: Final-Probation Order
Summary of UST19-0139
Fac. ID No. 4-670105 / Rickman Marathon
  Expedited Director’s Order signed December 20, 2019
  Final on January 26, 2020
  Violations Addressed on Director’s Order
    Failure to conduct annual line tightness test or monitor piping monthly
  Penalty:
    Upfront – Tank School
    Contingent – $8,000.00
  The request to attend tank school was received January 8, 2020.

## Slide 8: Final-Probation Order
Summary of UST19-0142
Fac. ID No. 9-791396 / Z and H, Inc.
  Expedited Director’s Order signed December 20, 2019
  Violations Addressed on Director’s Order
    Failure to install overfill prevention system
  Penalty:
    Upfront – Tank School
    Contingent – $2,000.00
  The request to attend tank school was received January 3, 2020.

## Slide 9: Questions?