Potential Lead Exposure Risk Notice Template

Drinking Water System is required to notify customers, non-paying consumers, and any off-site owner of a property (e.g., landlord) when a service line that may cause elevated lead exposure is identified. The most recent service line inventory indicates that this property has been identified as having a drinking water service line made of:

- Lead

- Galvanized metal that may have been downstream of lead containing materials

- Unknown material

A service line is a portion of pipe that connects the water main to the building inlet. Ownership of the service line varies by water system, but the Water System service line is owned partially by the Water System (main distribution line to the meter) and partially by the property owner (from the meter to the building). This service line material has been identified in the Water System owned portion and in the property owner’s portion.

Water System has developed a lead service line verification and replacement program. Information on this program is available at include website/upon request (include details) and in our annual Consumer Confidence Report. If you are planning to replace your service line, contact us at (123) 456-7890 prior to replacement so that we can coordinate our efforts. If your location has been identified as “unknown material,” please contact us to learn how to verify the service line materials.

The most recent service line inventory is available to the public at our website and upon request at the Water System office located at 123 Street Road Circle Lane, City, TN 3####.

Sources of Lead Exposure

Lead is a common metal found in the environment. Although most lead exposure occurs when people eat paint chips and inhale dust, or from contaminated soil, the EPA estimates that 10 to 20 percent of human exposure to lead may come from lead in drinking water. Lead is rarely found in source water but enters tap water through corrosion of plumbing materials. Homes built before 1988 are more likely to have lead pipes, fixtures, and solder. However, new homes are also at risk: even legally designated “Lead-Free” plumbing may contain up to 8 percent lead. The most common source is brass and chrome-plated brass faucets and fixtures, which can leach significant amount of lead into water, especially hot water.

Health Effects of Lead Exposure

Exposure to lead can cause serious health effects in all age groups. Infants and children who drink water containing lead could have decreases in IQ and attention span and increases in learning and behavior problems. Lead exposure among women who are pregnant increases prenatal risks. Lead exposure among women who later become pregnant has similar risks if lead stored in the mother’s  ones is released during pregnancy. Recent science suggests that adults who drink water containing  lead have increased risks of heart disease, high blood pressure, kidney, or nervous system problems.

Ways to reduce exposure to lead with drinking water:

- Run your water to flush out lead. Flushing the tap means running the cold-water faucet. It usually uses less than one gallon of water. If the water has not been used for several hours, run water for 15-30 seconds, or until it becomes cold, or until it reaches a steady temperature before using it for drinking or cooking. Flushing removes water that may contain lead from the plumbing lines.

- Use cold, flushed water for cooking and preparing baby formula. Because lead from lead-containing plumbing materials and pipes can dissolve into hot water more easily than cold water, never drink, cook, or prepare beverages including baby formula using hot water from the tap. If you have not had your water tested or if you know that lead-containing materials and pipes exist within your home, it is recommended that bottled or filtered water be used for drinking and preparing baby formula. If you need hot water, draw water from the cold tap and then heat it.

- Do not boil water to remove lead. Boiling water will not reduce lead; however, it is still safe to wash hands, dishes, shower, water plants, do laundry, etc..

- Look for alternative sources or treatment of water if you are concerned about contaminants. You may want to consider purchasing a water filter or bottled water. Read the packaging to ensure the filter is approved to reduce lead or contact NSF International at 800-NSF-2010 or www.nsf.org for more information on performance standards for water filters.

- Get your child tested. Visit the Tennessee Department of Health to learn more about children and lead or contact your healthcare provider to find out how you could get your child tested for lead if you concerned about lead exposure. https://www.tn.gov/health/health-program-areas/fhw/tn-clpp.html

- Get your water tested. The following is a list of some Department approved laboratories in your area that you can call to have your water tested for lead (Insert names and phones numbers of at least two laboratories).

- Identify plumbing fixtures containing lead. Although Tennessee law currently restricts the sale of plumbing fixtures not considered “Lead-Free,” new brass faucets, fittings, and valves, even those advertised as “Lead-Free” may still contribute lead to drinking water.

- Replace plumbing or fixtures containing lead. Physical modifications or disturbances may cause lead release. If you are planning to replace your lead service line, contacts us at (123) 456-7890.

- Remove and clean aerators/screens on plumbing fixtures. Over time, particles and sediment can collect in the aerator screen. Regularly remove and clean aerators screens located at the tip of faucets and remove any particles.

- Test your water for lead. Testing is essential because you cannot see, taste, or smell lead in drinking water. Water System periodically tests a portion of the residences for lead and copper levels and other water quality parameters throughout the distribution system. Participation in the sampling is voluntary and free. If you are interested in participating in this program, please call us (123) 456-7891.

- Water softeners and reverse osmosis units will remove lead from water but can also make the water more corrosive to lead solder and plumbing by removing certain minerals; therefore, the installation of these treatment units at the point of entry into homes with lead plumbing should only be done under supervision of a qualified water treatment professional.

For more information on reducing lead exposure around your home/building and the health effects of lead, visit EPA’s Web site at www.epa.gov/lead, call the EPA Safe Drinking Water Hotline at 800-426-4791, contact your health care provider, or reach out to the State of Tennessee Department of Environment and Conservation by mailing:

Lead and Copper in Drinking Water

Davy Crockett Tower, 9th Floor

500 James Robertson Parkway

Nashville, TN 37243-1204

This notice is sent to you by Water System

State Water System ID Number: TN000####

Phone: (123) 456-7890

Email: GeneralEmail@WaterSystem.org

Website: WaterSystemWebsite.org