## Sheet1
BOD₅ Worksheet | [15 empty] | LFB |  |  |  | Seed Control
Standard Methods 23rd Edition, 5210 B, 2016 | [15 empty] | Method Code 5210 B 6.b |  |  |  | Method Code 5210 B 4,5.d
Time in: ____________ Time out: ____________ Dilution water temp_______ | [6 empty] | Influent pH________ Effluent pH_________ Influent Temp_________ Effluent Temp_________ | [12 empty] | Seeding? |  | yes
Operator in:_____________ Operator out:___________ Incubation temp: 20 ± 1℃ | [6 empty] | Seed used per bottle: |  |  |  | Effluent &GGA | 4 |  | Influent | 4 | Dilution factor for ezGGA |  |  | 50 | Should be between 0.6-1.0
| Influent | [5 empty] | Final Effluent | [6 empty] | Blank |  | ezGGA |  |  |  | Seed Solutions
|  | Duplicate |  | Duplicate |  | Duplicate |  | Duplicate |  | Duplicate |  | Duplicate
Sample in mL | 3 | 3 | 5 | 5 | 7 | 7 | 200 | 200 | 250 | 250 | 300 | 300 | Sample in mL | 300 | 300 | Sample in mL | 6 | 6 | 6 | Seed used | 15 | 20 | 25
Bottle # | 11 | 103 | 78 | 62 | 5 | 1 | 87 | 3 | 96 | 54 | 12 | 27 | Bottle # | 33 | 14 | Bottle # | 55 | 88 | 7 | Bottle # | 16 | 24 | 36
Initial DO (D₁) | 8.46 | 8.7 |  |  | 8.5 |  | 8.3 |  | 8.5 |  |  |  | Initial DO (D₁) | 8.54 | 8.62 | Initial DO (D₁) | 8.5 | 8.5 | 8.5 | Initial DO (B₁) | 8.5 | 8.5 | 8.5
Final DO (D₂) | 6.4 |  |  |  | 3.5 |  | 2.4 |  | 3.2 |  |  |  | (-) Final DO (D₂) | 8.54 | 8.63 | (-) Final DO (D₂) | 3.4 | 4.3 | 5 | Final DO (B₂) | 5.3 | 4.9 | 3.5
Initial DO 7.5-9 |  |  | FAIL | FAIL |  | FAIL |  | FAIL |  | FAIL | FAIL | FAIL | Initial DO 7.5-9 |  |  | Initial DO 7.5-9 |  |  |  | Initial DO 7.5-9
Residual DO >1 |  | FAIL | FAIL | FAIL |  | FAIL |  | FAIL |  | FAIL | FAIL | FAIL | Depletion <0.2 |  |  | Residual DO >1.0 |  |  |  | Residual DO >1.0
Depletion >2 |  |  | FAIL | FAIL |  | FAIL |  | FAIL |  | FAIL | FAIL | FAIL | Negative Depletion |  | FAIL | Depletion >2 |  |  |  | Depletion >2
*** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ± 30.5 range |  |  | FAIL | 0.6-1.0 range
Oxygen Demand | 2.06 | 8.7 | 0 | 0 | 5 | 0 | 5.9 | 0 | 5.3 | 0 | 0 | 0 | Oxygen Demand | 0 | -0.01 | Oxygen Demand | 5.1 | 4.2 | 3.5 | Oxygen Demand | 3.2 | 3.6 | 5
Seed Control Factor | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | 0.79111 | *** | *** | *** | *** | *** | *** | *** | Demand/ Volume | 0.21333 | 0.18 | 0.2
Net Depletion | 1.2689 | 7.9089 | -0.79111 | -0.79111 | 4.2089 | -0.79111 | 5.1089 | -0.79111 | 4.5089 | -0.79111 | -0.79111 | -0.79111 | *** | *** | *** | Seed Control Factor | 0.79111 | 0.79111 | 0.79111 | *** | *** | *** | ***
Dilution Factor | 100 | 100 | 60 | 60 | 42.8571 | 42.8571 | 1.5 | 1.5 | 1.2 | 1.2 | 1 | 1 | *** | *** | *** | Net Depletion | 4.3089 | 3.4089 | 2.7089 | Demand per 1 mL seed | 0.21333 | 0.18 | 0.2
5day BOD mg/L | 126.8889 |  |  |  | 180.381 |  | 7.6633 |  | 5.4107 |  |  |  | 5day BOD mg/L | 0 |  | 5day BOD mg/L | 215.4444 | 170.4444 |  | Average per 1 mL seed | 0.19778
Average | 153.6349 | [5 empty] | 6.537 | [5 empty] | Average | 0 |  | Average | 192.9444 |  |  | Effluent/GGA Average | 0.79111
Values can be changed |  |  |  | Reason for failure |  |  |  |  | Cells contain formulas and should not be changed | [5 empty] | BOD values have fallen outside acceptance parameters and the data in the whole column is unusable.
This BOD calculator is designed for either BOD or CBOD.
If performing BOD without seeding, delete "yes" in cell Y6 , then type zero (0) in cell R7, however, there will need to be information in the seed control section for information to calculate in the average in effluent and influent sections.
If a BOD bottle does not deplete 2.0 mg/L or depletes to less than 1.0 mg/L, then the values read FAIL in one of the fields and will not calculate BOD in that column.
If a Blank depletes more than 0.2 mg/L or gains DO, then the values read FAIL and will not calcualte the Blank in that column.
If the seed control for a particular bottle passes initial depletion but fails the range of 0.6-1.0 mg/L, it will not calculate for that column.
If the seed control fails completely, it will not calculate Influent and Effluent BOD or GGA.
All dilution factors can be changed (except Blanks) to suit the needs of the operator.
All formulas account for rounding
Initial Temp: 20 +/- 3℃