STATE OF TENNESSEE

DEPARTMENT OF DISABILITY & AGING

INVITATION TO BID # 34401-13975 AMENDMENT # 2

FOR

WEST TN EMERGENCY GENERATOR MAINTENANCE

DATE: August 24, 2026

ITB # 34401-13975 IS AMENDED AS FOLLOWS:

- State responses to questions and comments in the table below amend and clarify this ITB.

Any restatement of ITB text in the Question/Comment column shall NOT be construed as a change in the actual wording of the ITB document.

| ITB SECTION | PAGE # | QUESTION / COMMENT |  | STATE RESPONSE |
| --- | --- | --- | --- | --- |
|  |  | 1 | Line 9 has a bid qty of 24 for the gas units… what does the 24 represent if there are 8 units over 5 years. | Line 9 and 10 are per test done per the specifications, as requested. |
|  |  | 2 | Line 10 has a bid qty of 10 for diesel load bank Is this for both 750kw & 60kw? How do we separate the difference? | Line 10 is for both 750 and 60kw. |
|  |  | 3 | The Terms and Conditions include the standard Tennessee Contractor License provision, but Specification Section V.E asks only for "appropriate electrical and mechanical licenses" for the personnel performing the work. Does a respondent need to hold an active Tennessee contractor's license in order to submit a response to this ITB? | A Respondent does not need to hold an active Tennessee contractor’s license to submit a response to this ITB. |
|  |  | 4 | The scope consists primarily of preventative maintenance, inspections, load-bank testing, repairs, and emergency service on existing standby generators. It does not involve the installation of new generators as part of the scope. | Correct. |
|  |  | 5 | Could you please confirm whether a Tennessee Contractor’s License is required for the prime contractor to submit a bid for this contract if the total five-year contract value exceeds $25,000? | A Tennessee Contractor’s License is not required. |
|  |  | 6 | If a license is required, could you please advise which license classification would apply? | Refer to the answer to Q.5. |
|  |  | 7 | Also, may the prime contractor subcontract electrical work requiring licensure to a properly licensed Tennessee electrical contractor? | Yes. |

- ITB Amendment Effective Date. The revisions set forth herein shall be effective upon release. All other terms and conditions of this ITB not expressly amended herein shall remain in full force and effect.