# LABORATORY

RISK ASSESSMENT POLICY and PROCEDURE

## Laboratory Director		Date

Clinical Division Director	Date

Biological Safety Officer	_	Date

Policy

The Tennessee Department of Health, Division of Laboratory Services (TDHLS) requires a risk assessment be performed on all work conducted in a state laboratory. These risk assessments will be used to develop policies, SOPs, testing and operational procedures, and PPE requirements.

These risk assessments are designed to be living documents and will be modified according to Section M below.

The Lab Director, Lab Manager(s) and the Safety Officer are responsible for ensuring completion and review of risk assessments.

### Purpose

The purpose of this document is to provide a risk assessment procedure that helps to identify and minimize laboratory risks, and develop hazard mitigation to ensure all work can proceed as safely as possible.

### Responsibilities

It is the responsibility of the Laboratory Supervisor to conduct a biosafety risk assessment before conducting any procedure in the laboratory. All laboratory staff members must be familiar      with the risk assessments in which they are involved and follow all SOPs and policies and procedures that are developed from those risk assessments. To adequately assess risk, the hazards associated with the chemical or biological agent must be assessed. Equipment, procedures, and competency of the laboratory staff must all be considered when assessing risk.

### Definitions

Hazard: A hazard is the potential for harm. A hazard is often associated with a condition or activity that, if left uncontrolled, can result in an injury or illness or property damage. For example, hazards can include an object, chemical, infectious agent or the way work is carried out.

Risk Control or Mitigation: Measures taken to reduce or eliminate the risk (likelihood and/ or consequence) of a hazard.

Risk: The chance or probability, high or low, that someone could be harmed (injury, damage or loss) by the hazard/s, together with an indication of how serious the harm could be.

Work Practice Controls: Methods to control risks - also known as mitigation. These include engineering controls such as biosafety cabinets, administrative controls such as written procedures, and personal protective equipment (PPE) such as lab coats and gloves.

### Risk Assessment Procedure

- Identify the activity

- Identify the individuals who should be involved in the process. At a minimum representation should include: Individuals who are most familiar with the task or process, the Biosafety Officer (BSO), laboratorians, affected parties (like maintenance, housekeeping, and administrative staff)

- Understand the limitations of a Risk Assessment

  - Subjective process that involves professional judgements based on knowledge and experience of past events.

  - Potential hazards identified may be based on incomplete knowledge, people differ in what constitutes a risk, and what is an acceptable level of risk.

  - It is not usually possible to eliminate all risks; aim for what is reasonably practical. This means avoiding any unnecessary risk; it is not practical to anticipate unforeseeable risks.

- Consider processes/procedures/hazardous activities.

  - Evaluate activities with hazards that present risks, prioritizing them based on those most likely to occur and with the most severe consequences. This will be based on preliminary assessments.

- Gather information

  - Review the process/procedure/activity being assessed.

  - Walk around the workplace – consider the activities, processes or substances used that could cause harm.

  - Check the manufacturer’s instructions for potential hazards.

  - Check accident, illness and surveillance reports.

  - Review the Chemical and Biological Safety Data Sheets for hazards and suggested guidelines for safe handling (PPE, BSC, fume hood, etc.).

  - Review the organism/agent’s properties, stability and persistence in the environment.

  - Think about long-term hazards to health (for example and if more than one chemical is used the synergistic effects may be greater than the combined risks listed on the individual MSDSs).

- Breakdown the work process in to Activities or Specific Tasks

  - Consider all steps in a procedure. For example, review the steps from the time a specimen is collected until it is permanently disposed.

  - Go through the process/procedure step by step. Collection, processing, testing, storing, disposal. Pre-analytical, Analytical, Post-analytical phases.

  - List the steps/activity/specific tasks of the procedure in the first column of the Risk Assessment Form 1. Each step of the process should be identified.  Refer to Table A - Examples of Activities or Specific Tasks.

- Identify the Hazards – What can go wrong?

  - For each activity/task, ask what can go wrong?

  - List potential hazards in the appropriate column on the Risk Assessment Form 1. Each activity or task may have more than one hazard associated with it. Hazards are rarely a simple case of one singular cause resulting in one singular effect. Be specific as possible. Refer to Table A - Potential Hazard Examples.

- Identify the Current Controls

  - Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at the source.

  - List the controls that are in place for each hazard. Refer to Table B for types and examples of Work Practice Controls. There may be several controls in place for each hazard.

- Likelihood of Hazard Occurring

  - Consider the Likelihood – Refer to Table C

  - How often is the task done?  Does this make the harm more or less likely?

  - How often are people near the hazard?

  - Has it ever happened before?  How often?

  - What is the likelihood of the hazard identified happening?

    - Rare: May happen only in exceptional circumstances

    - Unlikely: Might happen at some time

    - Possible: Could occur occasionally

    - Likely: Will probably occur in most circumstances

    - Almost Certain: Expected to occur in most circumstances

- Consequence if the hazard did occur

- Minimal: Hazard or near miss requiring reporting and follow up action

- Minor: Potential First Aid Injury

- Moderate: Potential Medical Treatment Injury or Illness

- Major: Potential Lost Time Injury, non-permanent disability

- Severe: Potential fatality or injury or illness with permanent disability

- Mitigate Remaining Hazards/Actions based on Risk Matrix – refer to Table C

| Step | Action |
| --- | --- |
| 1 | If the risk assessment identifies a number of unaddressed hazards, rank them in order of importance and address the most serious risks first. |
| 2 | Identify long-term solutions for the risks with the biggest consequences, as well as those risks most likely to cause accidents or ill health. - Extreme Risk: Stop work immediately unless it can be reduced to a high or medium risk. Involve senior management - High Risk: Target resolution within 2 weeks - Medium Risk: Target resolution within 1 month |
| 3 | The control measures implemented will usually require changes to the way work is done due to new or modified equipment or processes, new or different chemicals, or new PPE. In these situations, it is usually necessary to support the new control measure with - New procedures - Training, instruction, and information - Supervision |
| 4 | Total elimination of the hazard is not always possible. |
| 5 | Ensure the Laboratory Director, BSO, Lab Management, Safety personnel, and the lab employees performing the activity are aware of associated risks and hazards. |

- Develop Risk Control Plan

  - The Risk Control Plan describes practices, procedures, and resources needed to ensure the safety of an activity.

  - List the controls required for the activity on Form 2. Include Engineering and Administrative Controls and PPE.

- Review the Risk Assessment/Monitor

  - The plan should be reviewed at least annually

  - When operational conditions change

  - When equipment changes

  - Following an accident or incident

  - When personnel changes

  - When new knowledge is obtained regarding the hazards associated with the work.

References	1.   CDC/National Institutes of Health. Biosafety in microbiological and biomedical laboratories. 5th ed.  http://www.cdc.gov/biosafety/publications/bmbl5/BMBL.pdf.

2.   CDC. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR  January 6, 2012 supplement/Vol. 61.  http://www.cdc.gov/mmwr/pdf/other/su6101.pdf

3.    Canadian Center for Occupational Health Job Hazard Analysis https://www.ccohs.ca/oshanswers/hsprograms/job-haz.html

4.   Public Health Agency Canada, Pathogen Data Safety Sheets and Risk Assessment http://www.phac-aspc.gc.ca/lab-bio/res/psds-ftss/index-eng.php

Version 1 July 2016	     TDHLS Risk Assessment Form 1

| Procedure/Process: | Location: | Date: | Approved: |
| --- | --- | --- | --- |
| List Team Members: |  |  |  |

*Determine using Risk Matrix, Table C

| Identify Hazards |  | Identify Controls | Risk Assessment |  |  | Control Plan |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| List Specific Task/Activity | Hazard | Current Controls, Engineering, Administrative, PPE | Likelihood | Consequence | Risk Level * | Recommended Controls | Date Due |

Form 1  Page 2

| Identify Hazards |  | Identify Controls | Risk Assessment |  |  | Control Plan |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| List Specific Task | Hazard | Current Controls, Engineering, Administrative, PPE | Likelihood | Consequence | Risk Level * | Recommended Controls | Date Due |

Table A

Examples of Specific Tasks

Centrifuging

Cleaning up spills

Contact with fomites or contaminated surfaces

Handling biological waste

Inoculating media and automated identification systems

Disposal of leaky specimen containers

Handling of loose caps on containers

Manipulating inoculation needles, loops, and pipettes

Manipulating needles, syringes and sharps

Manipulating specimens and cultures

Mixing, blending, grinding, shaking, sonicating, vortexing specimens or cultures

Pipetting

Performing rapid tests (catalase)

Performing serology, rapid antigen tests, wet preps, slide agglutinations

Pouring, aliquotting, or decanting liquids

Preparing smears, heat fixing or staining slides

Processing specimens

Reading culture plates

Removing caps or swabs

Spilling/dropping

Splashing infectious material

Streaking plates

Subculturing

Throwing contaminated items into biohazardous waste

Transporting specimens/materials throughout the clinical environment (inside and outside of the lab)

Uncapping/opening vacutainer tubes or specimen containers

Use of animals/ inoculating animals

Use of sharps

Vortexing

Examples of Potential Hazard

Exposure to biohazardous material through inhalation of infectious aerosols (list specific tasks)

Exposure to biohazardous material via direct contact of specimens, specimen containers, patient’s skin, or contaminated work surfaces with employee’s skin

Exposure to biohazardous materials through ingestion or mucous membranes

Exposure to bloodborne pathogens

Parenteral inoculations with syringe needles or other contaminated sharps

Possible cuts from sharps used in specimen collection

Spills and splashes onto skin or mucous membranes

| Activity Risk Considerations Activities/practices | Entry Route |
| --- | --- |
| Mouth pipetting | Ingestion/oral |
| Splashing | Gastrointestinal tract |
| Eating, drinking, applying cosmetics in lab Use of personal electronic devices |  |
| Using needles/syringes | Non-intact skin/percutaneous |
| Broken glass or other sharps |  |
| Using scalpels |  |
| Waste disposal |  |
| Splashing or spilling into eye, mouth, nose | Contact with Mucous Membranes |
| Working on contaminated surfaces |  |
| Handling contaminated equipment |  |
| Improper use of loops, needles, swabs with specimens Pipetting Vortexing |  |
| Using needles and syringes | Inhalation of aerosols |
| Manipulating specimens and cultures | Lungs/respiratory |
| Spill cleanup Centrifugation Vortexing Pipetting |  |

Personnel Considerations

Age

Behavior

Duration and frequency of exposure

Education, experience, competence

Genetic predisposition

Immune status

Overall health

Perception (attitude, follows safety precautions, takes shortcuts, ect)

Preexisting conditions

Pregnancy

Stress, fatigue, mental status

Likelihood/Laboratory Environment Factors

Equipment: is it maintained? Is it operated according to the manufacturer’s instructions?

Facility – BSL2, BSL3, workspace, biological safety cabinets (BSCs), ventilation, lighting: Is there enough room? Is it cluttered? Is it clean?

Procedures performed?

Sample matrix: serum, spinal fluid, cultures?

Consequence Considerations

What type of harm could occur? How severe is the harm? Could the hazard cause death, serious injuries, illness or only minor injuries requiring first aid?

What factors could influence the severity of harm that occurs? For example, the distance someone might fall or the concentration of a particular substance will determine the level of harm that is possible. The harm may occur immediately or it may take time to become apparent.

How many people are exposed to the hazard and how many could be harmed in and outside the workplace?

Could one failure lead to other failures?

Could a small event escalate to a much larger event with more serious consequences?

Possible Long-term Outcomes

Colonization leading to carrier state

Asymptomatic infection

Infection – chronic or acute

Illness and morbidity

Disease and sequellae

Toxicity, oncogenicity, allergenicity

Death

| Adverse Event Considerations |  |
| --- | --- |
| How often are people exposed to the hazard? | A hazard may exist all of the time or it may only exist occasionally. The more often a hazard is present, the greater the likelihood it will result in harm. |
| How long might people be exposed? | Longer exposure to a hazard, the greater the likelihood that harm may result |
| In most cases the risks being assessed will already be subject to some control measures. | The likelihood of harm resulting from the risk will depend upon how adequate and effective the current measures are. |
| Are hazards more likely to cause harm because of the working environment? | Did the environment conditions change? Is there insufficient light and ventilation? Did the work level increase? |
| Could the way people act and behave affect the likelihood of a hazard causing harm? | The possibility that people may make mistakes, misues items, become distracted or panic in particular situations needs to be taken into account. The effects of fatigue or stress ma make it more likely that harm will occur. |
| Do the differences between individuals in the workplace make it more likely for harm to occur? | Newer or young workers may be more likely to suffer harm because of inexperience. People who do not normally work at the workplace will have less knowledge than employees who normally work there and may be more likely to suffer harm. This could include contractors or students. |

Least Effective and Reliable

4.  Record in appropriate column on Form 1

3.  Determine Risk Level using Likelihood and Consequence using Risk Matrix below

2.  Determine consequence of specific hazard and record in appropriate column

1. Determine likelihood of specific hazard and record in appropriate column